## all_max_min
Date/Time | MIN_ALL | MAX_ALL | Index_num | Index_num_X | Index_num_Y_Z1 | Index_num_Y_future
Environment:Site Outdoor Air Drybulb Temperature [C](TimeStep) | -35 | 35 | 0 | 0 | 0 | 0
Environment:Site Outdoor Air Relative Humidity [%](TimeStep) | 0 | 100 | 1 | 1 | 1 | 1
Environment:Site Wind Speed [m/s](TimeStep) | 0 | 30 | 2 | 2 | 2 | 2
Environment:Site Diffuse Solar Radiation Rate per Area [W/m2](TimeStep) | 0 | 1000 | 3 | 3 | 3 | 3
Environment:Site Direct Solar Radiation Rate per Area [W/m2](TimeStep) | 0 | 1200 | 4 | 4 | 4 | 4
PERIMETER_ZN_1:Zone People Occupant Count [](TimeStep) | 0 | 10 | 5 | 5 | 5 | 5
PERIMETER_ZN_2:Zone People Occupant Count [](TimeStep) | 0 | 10 | 6 | 6 | 6 | 6
PERIMETER_ZN_3:Zone People Occupant Count [](TimeStep) | 0 | 10 | 7 | 7 | 7 | 7
PERIMETER_ZN_4:Zone People Occupant Count [](TimeStep) | 0 | 10 | 8 | 8 | 8 | 8
CORE_ZN:Zone People Occupant Count [](TimeStep) | 0 | 10 | 9 | 9 | 9 | 9
PERIMETER_ZN_1:Zone Lights Electricity Rate [W](TimeStep) | 0 | 2000 | 10 | 10 | 10 | 10
PERIMETER_ZN_2:Zone Lights Electricity Rate [W](TimeStep) | 0 | 2000 | 11 | 11 | 11 | 11
PERIMETER_ZN_3:Zone Lights Electricity Rate [W](TimeStep) | 0 | 2000 | 12 | 12 | 12 | 12
PERIMETER_ZN_4:Zone Lights Electricity Rate [W](TimeStep) | 0 | 2000 | 13 | 13 | 13 | 13
CORE_ZN:Zone Lights Electricity Rate [W](TimeStep) | 0 | 2000 | 14 | 14 | 14 | 14
PERIMETER_ZN_1:Zone Electric Equipment Electricity Rate [W](TimeStep) | 0 | 2000 | 15 | 15 | 15 | 15
PERIMETER_ZN_2:Zone Electric Equipment Electricity Rate [W](TimeStep) | 0 | 2000 | 16 | 16 | 16 | 16
PERIMETER_ZN_3:Zone Electric Equipment Electricity Rate [W](TimeStep) | 0 | 2000 | 17 | 17 | 17 | 17
PERIMETER_ZN_4:Zone Electric Equipment Electricity Rate [W](TimeStep) | 0 | 2000 | 18 | 18 | 18 | 18
CORE_ZN:Zone Electric Equipment Electricity Rate [W](TimeStep) | 0 | 2000 | 19 | 19 | 19 | 19
EMS:Hour_sin [](TimeStep) | -1 | 1 | 20 | 20 | 20 | 20
EMS:Hour_cos [](TimeStep) | -1 | 1 | 21 | 21 | 21 | 21
EMS:Week_sin [](TimeStep) | -1 | 1 | 22 | 22 | 22 | 22
EMS:Week_cos [](TimeStep) | -1 | 1 | 23 | 23 | 23 | 23
EMS:Holiday [](TimeStep) | 0 | 1 | 24 | 24 | 24 | 24
EMS:Occupied [](TimeStep) | 0 | 1 | 25 | 25 | 25 | 25
EMS:WINDOW_PERIMETER_ZN_1_OPENING_FACTOR [](TimeStep) | 0 | 1 | 26 | 26 | 26 | 26
EMS:WINDOW_PERIMETER_ZN_2_OPENING_FACTOR [](TimeStep) | 0 | 1 | 27 | 27 | 27 | 27
EMS:WINDOW_PERIMETER_ZN_3_OPENING_FACTOR [](TimeStep) | 0 | 1 | 28 | 28 | 28 | 28
EMS:WINDOW_PERIMETER_ZN_4_OPENING_FACTOR [](TimeStep) | 0 | 1 | 29 | 29 | 29 | 29
EMS:WINDOW_CORE_ZN_OPENING_FACTOR [](TimeStep) | 0 | 1 | 30 | 30 | 30 | 30
EMS:HVAC_ZN_PERIMETER_1_OPERATION_MODE [](TimeStep) | 0 | 3 | 31 | 31 | 31 | 31
EMS:HVAC_ZN_PERIMETER_2_OPERATION_MODE [](TimeStep) | 0 | 3 | 32 | 32 | 32 | 32
EMS:HVAC_ZN_PERIMETER_3_OPERATION_MODE [](TimeStep) | 0 | 3 | 33 | 33 | 33 | 33
EMS:HVAC_ZN_PERIMETER_4_OPERATION_MODE [](TimeStep) | 0 | 3 | 34 | 34 | 34 | 34
EMS:HVAC_CORE_ZN_OPERATION_MODE [](TimeStep) | 0 | 3 | 35 | 35 | 35 | 35
EMS:PERIMETER_ZN_1_HEATING_SETPOINT [](TimeStep) | -35 | 35 | 36 | 36 | 36 | 36
EMS:PERIMETER_ZN_2_HEATING_SETPOINT [](TimeStep) | -35 | 35 | 37 | 37 | 37 | 37
EMS:PERIMETER_ZN_3_HEATING_SETPOINT [](TimeStep) | -35 | 35 | 38 | 38 | 38 | 38
EMS:PERIMETER_ZN_4_HEATING_SETPOINT [](TimeStep) | -35 | 35 | 39 | 39 | 39 | 39
EMS:CORE_ZN_HEATING_SETPOINT [](TimeStep) | -35 | 35 | 40 | 40 | 40 | 40
EMS:PERIMETER_ZN_1_COOLING_SETPOINT [](TimeStep) | -35 | 35 | 41 | 41 | 41 | 41
EMS:PERIMETER_ZN_2_COOLING_SETPOINT [](TimeStep) | -35 | 35 | 42 | 42 | 42 | 42
EMS:PERIMETER_ZN_3_COOLING_SETPOINT [](TimeStep) | -35 | 35 | 43 | 43 | 43 | 43
EMS:PERIMETER_ZN_4_COOLING_SETPOINT [](TimeStep) | -35 | 35 | 44 | 44 | 44 | 44
EMS:CORE_ZN_COOLING_SETPOINT [](TimeStep) | -35 | 35 | 45 | 45 | 45 | 45
EMS:PERIMETER_ZN_1_INDOOR_AIR_TEMPERATURE [](TimeStep) | -35 | 35 | 46 | 46 | 46 | 46
EMS:PERIMETER_ZN_2_INDOOR_AIR_TEMPERATURE [](TimeStep) | -35 | 35 | 47 | 47 | 47 | 47
EMS:PERIMETER_ZN_3_INDOOR_AIR_TEMPERATURE [](TimeStep) | -35 | 35 | 48 | 48 | 48 | 48
EMS:PERIMETER_ZN_4_INDOOR_AIR_TEMPERATURE [](TimeStep) | -35 | 35 | 49 | 49 | 49 | 49
EMS:CORE_ZN_INDOOR_AIR_TEMPERATURE [](TimeStep) | -35 | 35 | 50 | 50 | 50 | 50
EMS:VRF_HEATING_ENERGY_PERIMETER_ZN_1 [](TimeStep) | 0 | 250000 | 51 | 51 | 51 | 51
EMS:VRF_HEATING_ENERGY_PERIMETER_ZN_2 [](TimeStep) | 0 | 250000 | 52 | 52 | 52 | 52
EMS:VRF_HEATING_ENERGY_PERIMETER_ZN_3 [](TimeStep) | 0 | 250000 | 53 | 53 | 53 | 53
EMS:VRF_HEATING_ENERGY_PERIMETER_ZN_4 [](TimeStep) | 0 | 250000 | 54 | 54 | 54 | 54
EMS:VRF_HEATING_ENERGY_CORE_ZN [](TimeStep) | 0 | 250000 | 55 | 55 | 55 | 55
EMS:VRF_COOLING_ENERGY_PERIMETER_ZN_1 [](TimeStep) | 0 | 250000 | 56 | 56 | 56 | 56
EMS:VRF_COOLING_ENERGY_PERIMETER_ZN_2 [](TimeStep) | 0 | 250000 | 57 | 57 | 57 | 57
EMS:VRF_COOLING_ENERGY_PERIMETER_ZN_3 [](TimeStep) | 0 | 250000 | 58 | 58 | 58 | 58
EMS:VRF_COOLING_ENERGY_PERIMETER_ZN_4 [](TimeStep) | 0 | 250000 | 59 | 59 | 59 | 59
EMS:VRF_COOLING_ENERGY_CORE_ZN [](TimeStep) | 0 | 250000 | 60 | 60 | 60 | 60
EMS:ZONE_HVAC_ENERGY_PERIMETER_ZN_1 [](TimeStep) | 0 | 7 | 61 | 61 | 61 | 61
EMS:ZONE_HVAC_ENERGY_PERIMETER_ZN_2 [](TimeStep) | 0 | 7 | 62 | 62 | 62 | 62
EMS:ZONE_HVAC_ENERGY_PERIMETER_ZN_3 [](TimeStep) | 0 | 7 | 63 | 63 | 63 | 63
EMS:ZONE_HVAC_ENERGY_PERIMETER_ZN_4 [](TimeStep) | 0 | 7 | 64 | 64 | 64 | 64
EMS:ZONE_HVAC_ENERGY_CORE_ZN [](TimeStep) | 0 | 12 | 65 | 65 | 65 | 65
PLENUM-1:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 66 | 66 | 66 | 66
PERIMETER_ZN_1:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 67 | 67 | 67 | 67
PERIMETER_ZN_2:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 68 | 68 | 68 | 68
PERIMETER_ZN_3:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 69 | 69 | 69 | 69
PERIMETER_ZN_4:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 70 | 70 | 70 | 70
CORE_ZN:Zone Air CO2 Concentration [ppm](TimeStep) | 0 | 1000 | 71 | 71 | 71 | 71